## Template
SUMMARY
| Assay |  |  |  |  | Units |  |  | APS Absolute
| Matrix | [7 empty] | APS Relative
| Instrument/Device | [7 empty] | APS Cutoff
Method principle
IFU Insert Version
Evaluation Period
Evaluation Completed By
Comments and Assessment
Decision
| Approved By | [6 empty] | Approval Date
Commencement Date
User Guide
COMARISON USING PATIENT SAMPLES
Reference Method Instrument/Device
Reference Method Principle
Reference Method IFU Version
Diagnostic Cutoff for Concordance Assessment (Enter up to 4)
|  |  | Reference Thresholds |  |  | Proposed Thresholds
|  |  | Reference Method |  |  | Proposed Method
Reagent Lot No.
Calibrator Lot No.
|  |  | Reference Method |  |  | Proposed Method | [6 empty] | Reference Method |  |  | Proposed Method
| Sample ID |  | Operator | 1st rep | 2nd rep | Operator | 1st rep | 2nd rep | Inclusion | Comment |  |  | X R1 | X R2 | Mean X | Y R1 | Y R2 | Mean Y
[9 empty] | EXCLUDE | [15 empty] | Mean | Relative Difference | X | Y
[9 empty] | EXCLUDE | [15 empty] | 10559.5 | 0.034471 | 10377.5 | 10741.5 | 444.75 | 0.02956 | 444.75 | 0.16132 | 444.75 | -0.1022 | 100 | 0.1 | 100 | -0.1
[9 empty] | EXCLUDE | [15 empty] | 3952.25 | -0.052502 | 4056 | 3848.5 | 17217.75 | 0.02956 | 17217.75 | 0.16132 | 17217.75 | -0.1022 | 17217.75 | 0.1 | 17217.75 | -0.1
[9 empty] | EXCLUDE | [15 empty] | 2654.75 | 0.00056502 | 2654 | 2655.5
[9 empty] | EXCLUDE | [15 empty] | 4968.75 | 0.089258 | 4747 | 5190.5
[9 empty] | EXCLUDE | [15 empty] | 1507 | 0.063039 | 1459.5 | 1554.5
[9 empty] | EXCLUDE | [15 empty] | 5952.5 | 0.02436 | 5880 | 6025
[9 empty] | EXCLUDE | [15 empty] | 3866.25 | -0.0024572 | 3871 | 3861.5
[9 empty] | EXCLUDE | [15 empty] | 2497.25 | 0.029032 | 2461 | 2533.5
[9 empty] | EXCLUDE | [15 empty] | 1830 | 0.030601 | 1802 | 1858
[9 empty] | EXCLUDE | [15 empty] | 1621.75 | 0.017574 | 1607.5 | 1636 |  |  | 408.5 | 408.5 | 408.5 | 465.2345 | 100 | 110 | 100 | 90
[9 empty] | EXCLUDE | [15 empty] | 4335.25 | 0.0028833 | 4329 | 4341.5 |  |  | 17859 | 17859 | 17859 | 17894.6493 | 17859 | 19644.9 | 17859 | 16073.1
[9 empty] | EXCLUDE | [15 empty] | 8048.25 | 0.033983 | 7911.5 | 8185
[9 empty] | EXCLUDE | [15 empty] | 1776 | -0.025338 | 1798.5 | 1753.5
[9 empty] | EXCLUDE | [15 empty] | 6648.5 | 0.043468 | 6504 | 6793
[9 empty] | EXCLUDE | [15 empty] | 9281.25 | -0.048539 | 9506.5 | 9056
[9 empty] | EXCLUDE | [15 empty] | 4752.75 | -0.011888 | 4781 | 4724.5
[9 empty] | EXCLUDE | [15 empty] | 2127.75 | 0.0054048 | 2122 | 2133.5
[9 empty] | EXCLUDE | [15 empty] | 17217.75 | -0.074487 | 17859 | 16576.5
[9 empty] | EXCLUDE | [15 empty] | 7085.25 | 0.0059984 | 7064 | 7106.5
[9 empty] | EXCLUDE | [15 empty] | 975 | 0.02359 | 963.5 | 986.5
[9 empty] | EXCLUDE | [15 empty] | 444.75 | 0.16301 | 408.5 | 481
[9 empty] | EXCLUDE | [15 empty] | 5613 | -0.0035632 | 5623 | 5603
[9 empty] | EXCLUDE | [15 empty] | 4984.75 | 0.024575 | 4923.5 | 5046
[9 empty] | EXCLUDE | [15 empty] | 2772.25 | 0.019659 | 2745 | 2799.5
[9 empty] | EXCLUDE | [15 empty] | 1730 | -0.0098266 | 1738.5 | 1721.5
[9 empty] | EXCLUDE | [15 empty] | 7302.25 | 0.067171 | 7057 | 7547.5
[9 empty] | EXCLUDE | [15 empty] | 3005.5 | 0.0026618 | 3001.5 | 3009.5
[9 empty] | EXCLUDE | [15 empty] | 941 | 0.096706 | 895.5 | 986.5
[9 empty] | EXCLUDE | [15 empty] | 11933.75 | -0.037164 | 12155.5 | 11712
[9 empty] | EXCLUDE | [15 empty] | 1353.25 | 0.09274 | 1290.5 | 1416
[9 empty] | EXCLUDE | [15 empty] | 970.75 | 0.057172 | 943 | 998.5
[9 empty] | EXCLUDE | [15 empty] | 11505.5 | 0.033549 | 11312.5 | 11698.5
[9 empty] | EXCLUDE | [15 empty] | 2764.5 | 0.046663 | 2700 | 2829
[9 empty] | EXCLUDE | [15 empty] | 3668.75 | 0.058739 | 3561 | 3776.5
[9 empty] | EXCLUDE | [15 empty] | 1805 | 0.10416 | 1711 | 1899
[9 empty] | EXCLUDE | [15 empty] | 1024 | 0.035156 | 1006 | 1042
[9 empty] | EXCLUDE | [15 empty] | 1398.25 | 0.31146 | 1180.5 | 1616
[9 empty] | EXCLUDE | [15 empty] | 9193.75 | 0.040625 | 9007 | 9380.5
[9 empty] | EXCLUDE | [15 empty] | 4385.25 | -0.024058 | 4438 | 4332.5
[9 empty] | EXCLUDE | [15 empty] | 3457.25 | -0.086051 | 3606 | 3308.5
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
|  |  | x | y |  |  |  | Pearson Correlation Coefficient (R)
|  | N | 0 | 0 |  |  |  | Coefficient of Determination (R^2)
Mean
Concordance
n x n concordance table
|  | Overall Agreement | 0.95
|  | Expected Agreement | 0.26062
|  | Kappa | 0.93238 | Good agreement
|  | SE(Kappa) | 0.046194
|  | LCL | 0.84184
|  | UCL | 1.0229
TRUENESS ASSESSED USING STANDARD MATERIALS
Trueness verification based on RCPAQAP material
EQA Program Name
Date of Analysis
Operator ID
Reagent Lot No
Calibrator Lot No
| ENTER below MIMIMUM of 6 and MAXIMUM of 8 levels in single or replicate values for test method | [15 empty] | Calculations
[17 empty] | Trueness using RCPAQAP materials |  |  |  | Cut-off Values in reportable units
| Sample ID | Global Target | Method Group Median | First Replicate | Second Replicate | Mean | Trueness
[17 empty] | sd (sx) | s2x | Bias | %Bias | High cut off | Low cut off |  | n
[17 empty] | 0 | [6 empty] | 0
[17 empty] | 0 | [6 empty] | 0
[17 empty] | 0 | [6 empty] | 0
[17 empty] | 0 | [6 empty] | 0
[17 empty] | 0 | [6 empty] | 0
[17 empty] | 0 | [6 empty] | 0
[17 empty] | 0 | [6 empty] | 0
[17 empty] | 0 | [6 empty] | 0
Method Group Median CV from EQA Program
| Number of labs in EQA Method Group |  |  |  |  | Std Err of method (sa)
[6 empty] | Number of samples tested | 0
[6 empty] | Number of replicates | 1
Trueness verification based on other reference materials
Trueness is verified if the TEST method gives results that fall within the calculated lower and upper verification limits.
This form of verification should be used if (1) the two methods are substantially different e.g. the test method uses a different
analytical principle to the reference method, or (2) the manufacturer has not provided relevant bias information, or (3) an
EQA program does not exist that can be used for trueness verification, or (4) alternative reference materials suitable for
trueness verification are available e.g. calibrator materials from different batch numbers. The default minimum acceptable
imprecision is as published by RCPAQAP.
Name of Material Tested
Date of Analysis
Operator ID
Reagent Lot No
Calibrator Lot No
ENTER below MIMIMUM of 3 different batches of calibrators
| ID | Target Value | First Replicate | Second Replicate | Third Replicate | Mean | Strict | t-test
[17 empty] | SE | Abs Bias | Bias CI Lower | Bias CI Upper | Max Bias | Low cut off | High cut off
[17 empty] | 0 |  | #VALUE! | #VALUE! | 0 | 0 | 0
[17 empty] | 0 |  | #VALUE! | #VALUE! | 0 | 0 | 0
[17 empty] | 0 |  | #VALUE! | #VALUE! | 0 | 0 | 0
[17 empty] | 0 |  | #VALUE! | #VALUE! | 0 | 0 | 0
[17 empty] | 0 |  | #VALUE! | #VALUE! | 0 | 0 | 0
[17 empty] | 0 |  | #VALUE! | #VALUE! | 0 | 0 | 0
[17 empty] | 0 |  | #VALUE! | #VALUE! | 0 | 0 | 0
[17 empty] | 0 |  | #VALUE! | #VALUE! | 0 | 0 | 0
| Allowable bias |  | Alpha
5%
PRECISION
Material Used
Material Lot No.
Reagent Lot No.
Calibrator Lot No.
Claimed Imprecision
|  |  | Level 1 | Level 2 | Level 3 | Level 4
Mean
Repeatability CV
Within lab CV
ENTER up to 5 values per day for each level
| Day | Run | Level 1 | Level 2 | Level 3 | Level 4
Repeatability
Between day
Within lab
Repeatability CV
Between day CV
Within lab CV
Upper Verification Limits
Repeatability UVL
Within lab UVL
Comparison to Claim
|  |  | Level 1 | Level 2 | Level 3 | Level 4
Repeatability
Within Lab Precision
Assay Capability
|  |  | Level 1 | Level 2 | Level 3 | Level 4
Mean
RCPA APS
Capability (σ)
Acceptability
Comparison to Biological Variation APS
|  | CVi | #N/A |  |  | Specification
|  | CVg | #N/A |  | Imprecision
|  | Required Category | Desirable |  | Bias
|  | alpha | 0.05 |  | Total Error
Upper Verification Limits
|  |  | Level 1 | Level 2 | Level 3 | Level 4
Repeatability
Within Lab Precision
Imprecision Verification Result
Repeatability
Within Lab Precision
REFERENCE INTERVALS
Reference Intervals that will be used
Reference Interval Verification
| LRL | URL |  |  |  | LRL | URL
| Sample ID | Operator | Result |  |  | Sample ID | Operator | Result
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
|  | Reference interval verification |  |  |  |  | Reference interval verification
|  | N | 0 |  |  |  | N | 0
|  | Outliers | 0 |  |  |  | Outliers | 0
|  | p |  |  |  |  | p
LIMIT OF BLANK, DETECTION, QUANTITATION
| Date of analysis |  |  | Reagent Lot No.
| Operator ID |  |  | Calibrator Lot No.
Limit of Blank (LoB)
ENTER the LoB claim
ENTER min of 2 replicates, of min 2 blank samples, of min 3 days, for min of 20 values
[9 empty] | Bounds for observed proportion of results relative to a detection capability claim | [10 empty] | Values ≤ LoB claim
|  | Day | Date | Sample 1 | Sample 2 | Sample 3 |  |  | Total number of measurements (n) |  |  | % Observed proportion boundary | [7 empty] | 1 | 1 | 1
|  | Day 1 | [6 empty] | 20 |  |  | 85% | [7 empty] | 1 | 1 | 1
[9 empty] | 30 |  |  | 86.67% | [7 empty] | 1 | 1 | 1
[9 empty] | 40 |  |  | 90% | [7 empty] | 1 | 1 | 1
|  | Day 2 | [6 empty] | 50 |  |  | 90% | [7 empty] | 1 | 1 | 1
[9 empty] | 60 |  |  | 90% | [7 empty] | 1 | 1 | 1
[9 empty] | 70 |  |  | 90% | [7 empty] | 1 | 1 | 1
|  | Day 3 | [6 empty] | 80 |  |  | 91.25% | [7 empty] | 1 | 1 | 1
[9 empty] | 90 |  |  | 91.11% | [7 empty] | 1 | 1 | 1
[9 empty] | 100 |  |  | 91% |  |  |  |  | n <= LoB claim |  | 27
[9 empty] | 150 |  |  | 92% |  |  |  |  | % n<= LoB claim |  | #DIV/0! | %
[9 empty] | 200 |  |  | 92.5%
| Total number of values |  | 0 |  | Min Req | 0 |  |  | 250 |  |  | 92.8%
| mean of blank |  | #DIV/0! |  | % Min Req | #DIV/0! |  |  | 300 |  |  | 93%
| SD of blank |  | #DIV/0! | [5 empty] | 400 |  |  | 93.25%
Limit of blank (LoB) |  |  | #DIV/0! | 0 | Alpha | 0.05 |  |  | 500 |  |  | 93.4%
|  |  | Pass |  | C_beta | 1.5183 |  |  | 1000 |  |  | 93.8%
Limit of Detection (LoD)
ENTER the LoD claim
Values ≥ LoB claim
|  | ENTER min of 2 replicates, of min 2 LoD claim samples, of min 3 days, for min of 20 values | [17 empty] | 1 | 1 | 1
[20 empty] | 1 | 1 | 1
|  | Day | Date | Sample 1 | Sample 2 | Sample 3 |  | Selected samples should have a concentration at the claimed LoD | [11 empty] | 1 | 1 | 1
|  | Day 1 | [17 empty] | 1 | 1 | 1
[20 empty] | 1 | 1 | 1
[20 empty] | 1 | 1 | 1
|  | Day 2 | [17 empty] | 1 | 1 | 1
[20 empty] | 1 | 1 | 1
[20 empty] | 1 | 1 | 1
|  | Day 3 | [14 empty] | n >=LoB claim |  | 27
[17 empty] | % n >= LoB claim |  | #DIV/0! | %
Sample SD
|  |  |  | #N/A | #N/A | #N/A
| Total number of values |  | 0 |  | Min Req | 0
| Pooled SD |  | #DIV/0! |  | % Min Req | #DIV/0!
|  | Limit of Detection | #DIV/0! | 0
|  |  | Pass |  | Alpha | 0.05
[5 empty] | C_beta | 1.5183
Limit of Quantitaion (LoQ)
Enter the LoQ claim
ENTER min of 2 replicates, of min 2 LoQ claim samples, of min 3 days, for min of 20 values
% difference from means
|  | Day | Date | Sample 1 | Sample 2 | Sample 3 |  |  | Sample 1 | Sample 2 | Sample 3 |  |  |  |  | Values < TEa |  |  |  | % difference calculations
|  | Day 1 | [6 empty] | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
[9 empty] | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
[9 empty] | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
|  | Day 2 | [6 empty] | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
[9 empty] | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
[9 empty] | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
|  | Day 3 | [6 empty] | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
[9 empty] | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
[9 empty] | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | #VALUE! | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE!
|  | Sample mean | [10 empty] | n >= TEa |  | 0
|  |  | Sample SD | [9 empty] | % n >= TEa |  | #DIV/0!
Sample CV
| Total number of values |  | 0 |  | Min Req | 0
| Total number of samples |  | 0 |  | % Min Req | #DIV/0!
Grand Mean |  |  | #DIV/0!
[5 empty] | Alpha | 0.05
| TEa |  |  | % | C_beta | 1.5183
Pass
Note on B380: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Lower reference limit
Note on C380: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Upper reference limit
Note on G380: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Lower reference limit
Note on H380: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Upper reference limit

## Example
SUMMARY
| Assay |  |  |  |  | Units |  |  | APS Absolute
| Soluble FMS Like Tyrosine Kinase 1 |  |  |  |  | ng/L |  |  | 10
| Matrix | [7 empty] | APS Relative
| Serum | [7 empty] | 10%
| Instrument/Device | [7 empty] | APS Cutoff
| Some manufacturer device | [7 empty] | 100
Method principle
Chemiluminescence
IFU Insert Version
Evaluation Period
12/11/2023
Evaluation Completed By
Comments and Assessment
Decision
| Approved By | [6 empty] | Approval Date
Commencement Date
User Guide
COMARISON USING PATIENT SAMPLES
Reference Method Instrument/Device
Reference Method Principle
Reference Method IFU Version
Diagnostic Cutoff for Concordance Assessment (Enter up to 4)
|  |  | Reference Thresholds |  |  | Proposed Thresholds
|  |  | 2000 |  |  | 2010
|  |  | 4000 |  |  | 4010
|  |  | 6000 |  |  | 6010
|  |  | Reference Method |  |  | Proposed Method
Reagent Lot No.
Calibrator Lot No.
|  |  | Reference Method |  |  | Proposed Method | [6 empty] | Reference Method |  |  | Proposed Method
| Sample ID |  | Operator | 1st rep | 2nd rep | Operator | 1st rep | 2nd rep | Inclusion | Comment |  |  | X R1 | X R2 | Mean X | Y R1 | Y R2 | Mean Y
| 1000 |  |  | 10583 | 10172 | JS | 10737 | 10746 | INCLUDE |  |  |  | 10583 | 10172 | 10377.5 | 10737 | 10746 | 10741.5 | [7 empty] | Mean | Relative Difference | X | Y
| 1001 |  |  | 3879 | 4233 | JS | 3934 | 3763 | INCLUDE |  |  |  | 3879 | 4233 | 4056 | 3934 | 3763 | 3848.5 | [7 empty] | 10559.5 | 0.034471 | 10377.5 | 10741.5 | 444.75 | 0.02956 | 444.75 | 0.16132 | 444.75 | -0.1022 | 100 | 0.1 | 100 | -0.1
| 1002 |  |  | 2674 | 2634 | JS | 2679 | 2632 | INCLUDE |  |  |  | 2674 | 2634 | 2654 | 2679 | 2632 | 2655.5 | [7 empty] | 3952.25 | -0.052502 | 4056 | 3848.5 | 17217.75 | 0.02956 | 17217.75 | 0.16132 | 17217.75 | -0.1022 | 17217.75 | 0.1 | 17217.75 | -0.1
| 1003 |  |  | 4865 | 4629 | JS | 4932 | 5449 | INCLUDE |  |  |  | 4865 | 4629 | 4747 | 4932 | 5449 | 5190.5 | [7 empty] | 2654.75 | 0.00056502 | 2654 | 2655.5
| 1004 |  |  | 1471 | 1448 | JS | 1546 | 1563 | INCLUDE |  |  |  | 1471 | 1448 | 1459.5 | 1546 | 1563 | 1554.5 | [7 empty] | 4968.75 | 0.089258 | 4747 | 5190.5
| 1005 |  |  | 6018 | 5742 | JS | 5985 | 6065 | INCLUDE |  |  |  | 6018 | 5742 | 5880 | 5985 | 6065 | 6025 | [7 empty] | 1507 | 0.063039 | 1459.5 | 1554.5
| 1006 |  |  | 3891 | 3851 | JS | 3922 | 3801 | INCLUDE |  |  |  | 3891 | 3851 | 3871 | 3922 | 3801 | 3861.5 | [7 empty] | 5952.5 | 0.02436 | 5880 | 6025
| 1007 |  |  | 2519 | 2403 | JS | 2593 | 2474 | INCLUDE |  |  |  | 2519 | 2403 | 2461 | 2593 | 2474 | 2533.5 | [7 empty] | 3866.25 | -0.0024572 | 3871 | 3861.5
| 1008 |  |  | 1867 | 1737 | JS | 1880 | 1836 | INCLUDE |  |  |  | 1867 | 1737 | 1802 | 1880 | 1836 | 1858 | [7 empty] | 2497.25 | 0.029032 | 2461 | 2533.5
| 1009 |  |  | 1565 | 1650 | JS | 1622 | 1650 | INCLUDE |  |  |  | 1565 | 1650 | 1607.5 | 1622 | 1650 | 1636 | [7 empty] | 1830 | 0.030601 | 1802 | 1858
| 1010 |  |  | 4267 | 4391 | JS | 4282 | 4401 | INCLUDE |  |  |  | 4267 | 4391 | 4329 | 4282 | 4401 | 4341.5 | [7 empty] | 1621.75 | 0.017574 | 1607.5 | 1636 |  |  | 408.5 | 408.5 | 408.5 | 465.2345 | 100 | 110 | 100 | 90
| 1011 |  |  | 7862 | 7961 | JS | 8076 | 8294 | INCLUDE |  |  |  | 7862 | 7961 | 7911.5 | 8076 | 8294 | 8185 | [7 empty] | 4335.25 | 0.0028833 | 4329 | 4341.5 |  |  | 17859 | 17859 | 17859 | 17894.6493 | 17859 | 19644.9 | 17859 | 16073.1
| 1012 |  |  | 1831 | 1766 | JS | 1813 | 1694 | INCLUDE |  |  |  | 1831 | 1766 | 1798.5 | 1813 | 1694 | 1753.5 | [7 empty] | 8048.25 | 0.033983 | 7911.5 | 8185
| 1013 |  |  | 6651 | 6357 | JS | 6805 | 6781 | INCLUDE |  |  |  | 6651 | 6357 | 6504 | 6805 | 6781 | 6793 | [7 empty] | 1776 | -0.025338 | 1798.5 | 1753.5
| 1014 |  |  | 9130 | 9883 | JS | 9275 | 8837 | INCLUDE |  |  |  | 9130 | 9883 | 9506.5 | 9275 | 8837 | 9056 | [7 empty] | 6648.5 | 0.043468 | 6504 | 6793
| 1015 |  |  | 4837 | 4725 | JS | 4877 | 4572 | INCLUDE |  |  |  | 4837 | 4725 | 4781 | 4877 | 4572 | 4724.5 | [7 empty] | 9281.25 | -0.048539 | 9506.5 | 9056
| 1016 |  |  | 2059 | 2185 | JS | 2146 | 2121 | INCLUDE |  |  |  | 2059 | 2185 | 2122 | 2146 | 2121 | 2133.5 | [7 empty] | 4752.75 | -0.011888 | 4781 | 4724.5
| 1017 |  |  | 17052 | 18666 | JS | 16905 | 16248 | INCLUDE |  |  |  | 17052 | 18666 | 17859 | 16905 | 16248 | 16576.5 | [7 empty] | 2127.75 | 0.0054048 | 2122 | 2133.5
| 1018 |  |  | 7365 | 6763 | JS | 7259 | 6954 | INCLUDE |  |  |  | 7365 | 6763 | 7064 | 7259 | 6954 | 7106.5 | [7 empty] | 17217.75 | -0.074487 | 17859 | 16576.5
| 1019 |  |  | 940 | 987 | JS | 996 | 977 | INCLUDE |  |  |  | 940 | 987 | 963.5 | 996 | 977 | 986.5 | [7 empty] | 7085.25 | 0.0059984 | 7064 | 7106.5
| 1020 |  |  | 434 | 383 | JS | 456 | 506 | INCLUDE |  |  |  | 434 | 383 | 408.5 | 456 | 506 | 481 | [7 empty] | 975 | 0.02359 | 963.5 | 986.5
| 1021 |  |  | 5693 | 5553 | JS | 5677 | 5529 | INCLUDE |  |  |  | 5693 | 5553 | 5623 | 5677 | 5529 | 5603 | [7 empty] | 444.75 | 0.16301 | 408.5 | 481
| 1022 |  |  | 4987 | 4860 | JS | 5071 | 5021 | INCLUDE |  |  |  | 4987 | 4860 | 4923.5 | 5071 | 5021 | 5046 | [7 empty] | 5613 | -0.0035632 | 5623 | 5603
| 1023 |  |  | 2754 | 2736 | JS | 2873 | 2726 | INCLUDE |  |  |  | 2754 | 2736 | 2745 | 2873 | 2726 | 2799.5 | [7 empty] | 4984.75 | 0.024575 | 4923.5 | 5046
| 1024 |  |  | 1725 | 1752 | JS | 1775 | 1668 | INCLUDE |  |  |  | 1725 | 1752 | 1738.5 | 1775 | 1668 | 1721.5 | [7 empty] | 2772.25 | 0.019659 | 2745 | 2799.5
| 1025 |  |  | 7192 | 6922 | JS | 7454 | 7641 | INCLUDE |  |  |  | 7192 | 6922 | 7057 | 7454 | 7641 | 7547.5 | [7 empty] | 1730 | -0.0098266 | 1738.5 | 1721.5
| 1026 |  |  | 3024 | 2979 | JS | 3058 | 2961 | INCLUDE |  |  |  | 3024 | 2979 | 3001.5 | 3058 | 2961 | 3009.5 | [7 empty] | 7302.25 | 0.067171 | 7057 | 7547.5
| 1027 |  |  | 903 | 888 | JS | 954 | 1019 | INCLUDE |  |  |  | 903 | 888 | 895.5 | 954 | 1019 | 986.5 | [7 empty] | 3005.5 | 0.0026618 | 3001.5 | 3009.5
| 1028 |  |  | 11962 | 12349 | JS | 11793 | 11631 | INCLUDE |  |  |  | 11962 | 12349 | 12155.5 | 11793 | 11631 | 11712 | [7 empty] | 941 | 0.096706 | 895.5 | 986.5
| 1029 |  |  | 1295 | 1286 | JS | 1347 | 1485 | INCLUDE |  |  |  | 1295 | 1286 | 1290.5 | 1347 | 1485 | 1416 | [7 empty] | 11933.75 | -0.037164 | 12155.5 | 11712
| 1030 |  |  | 948 | 938 | JS | 1000 | 997 | INCLUDE |  |  |  | 948 | 938 | 943 | 1000 | 997 | 998.5 | [7 empty] | 1353.25 | 0.09274 | 1290.5 | 1416
| 1031 |  |  | 11643 | 10982 | JS | 11982 | 11415 | INCLUDE |  |  |  | 11643 | 10982 | 11312.5 | 11982 | 11415 | 11698.5 | [7 empty] | 970.75 | 0.057172 | 943 | 998.5
| 1032 |  |  | 2687 | 2713 | JS | 2777 | 2881 | INCLUDE |  |  |  | 2687 | 2713 | 2700 | 2777 | 2881 | 2829 | [7 empty] | 11505.5 | 0.033549 | 11312.5 | 11698.5
| 1033 |  |  | 3688 | 3434 | JS | 3714 | 3839 | INCLUDE |  |  |  | 3688 | 3434 | 3561 | 3714 | 3839 | 3776.5 | [7 empty] | 2764.5 | 0.046663 | 2700 | 2829
| 1034 |  |  | 1756 | 1666 | JS | 1873 | 1925 | INCLUDE |  |  |  | 1756 | 1666 | 1711 | 1873 | 1925 | 1899 | [7 empty] | 3668.75 | 0.058739 | 3561 | 3776.5
| 1035 |  |  | 989 | 1023 | JS | 1062 | 1022 | INCLUDE |  |  |  | 989 | 1023 | 1006 | 1062 | 1022 | 1042 | [7 empty] | 1805 | 0.10416 | 1711 | 1899
| 1036 |  |  | 1182 | 1179 | JS | 1570 | 1662 | INCLUDE |  |  |  | 1182 | 1179 | 1180.5 | 1570 | 1662 | 1616 | [7 empty] | 1024 | 0.035156 | 1006 | 1042
| 1037 |  |  | 9098 | 8916 | JS | 9212 | 9549 | INCLUDE |  |  |  | 9098 | 8916 | 9007 | 9212 | 9549 | 9380.5 | [7 empty] | 1398.25 | 0.31146 | 1180.5 | 1616
| 1038 |  |  | 4333 | 4543 | JS | 4427 | 4238 | INCLUDE |  |  |  | 4333 | 4543 | 4438 | 4427 | 4238 | 4332.5 | [7 empty] | 9193.75 | 0.040625 | 9007 | 9380.5
| 1039 |  |  | 3486 | 3726 | JS | 3516 | 3101 | INCLUDE |  |  |  | 3486 | 3726 | 3606 | 3516 | 3101 | 3308.5 | [7 empty] | 4385.25 | -0.024058 | 4438 | 4332.5
[9 empty] | EXCLUDE | [16 empty] | 3457.25 | -0.086051 | 3606 | 3308.5
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
EXCLUDE
|  |  | x | y |  |  |  | Pearson Correlation Coefficient (R) | 0.99716
|  | N | 40 | 40 |  |  |  | Coefficient of Determination (R^2) | 0.99432
|  | Mean | 4526.45 | 4569.1125
|  | Passing-Bablock Regression |  |  | Non-parametric CI
|  |  | Coefficents | LCL | UCL
|  | Slope | 0.99879 | 0.97106 | 1.0277
|  | Intercept | 57.2281 | -8.7746 | 125.4356
Concordance
n x n concordance table
Overall Agreement
Expected Agreement
Kappa
SE(Kappa)
LCL
UCL
TRUENESS ASSESSED USING STANDARD MATERIALS
Trueness verification based on RCPAQAP material
EQA Program Name
Date of Analysis
Operator ID
Reagent Lot No
Calibrator Lot No
| ENTER below MIMIMUM of 6 and MAXIMUM of 8 levels in single or replicate values for test method | [15 empty] | Calculations
[17 empty] | Trueness using RCPAQAP materials |  |  |  | Cut-off Values in reportable units
| Sample ID | Global Target | Method Group Median | First Replicate | Second Replicate | Mean | Trueness
[17 empty] | sd (sx) | s2x | Bias | %Bias | High cut off | Low cut off |  | n
| 23-08 | 200 | 195 | 190 | 190 | 190 | Pass | [9 empty] | 0 | 0 | -5 | -2.5641 | 186.7269 | 203.2731 |  | 2
| 23-09 | 250 | 230 | 232 | 232 | 232 | Pass | [9 empty] | 0 | 0 | 2 | 0.86957 | 220.2419 | 239.7581 |  | 2
| 23-10 | 10 | 20 | 15 |  | 15 | Fail | [9 empty] | 0 | 0 | -5 | -25 | 18.8 | 21.2 |  | 1
| 23-11 | 35 | 38 | 35 | 35 | 35 | Fail | [9 empty] | 0 | 0 | -3 | -7.8947 | 36.3878 | 39.6122 |  | 2
| 23-12 | 90 | 91 | 89 | 89 | 89 | Pass | [9 empty] | 0 | 0 | -2 | -2.1978 | 87.1392 | 94.8608 |  | 2
| 23-13 | 75 | 70 | 68 | 67 | 67.5 | Pass | [9 empty] | 0.70711 | 0.26726 | -2.5 | -3.5714 | 67.0302 | 72.9698 |  | 2
| 23-14 | 100 | 100 | 95 | 95 | 95 | Fail | [9 empty] | 0 | 0 | -5 | -5 | 95.7574 | 104.2426 |  | 2
| 23-15 | 200 | 205 | [13 empty] | 0 | 0 | [5 empty] | 0
Method Group Median CV from EQA Program
3%
| Number of labs in EQA Method Group |  |  |  |  | Std Err of method (sa) | 0.013416
| 5 |  |  |  |  | Number of samples tested | 7
[6 empty] | Number of replicates | 2
Trueness verification based on other reference materials
Trueness is verified if the TEST method gives results that fall within the calculated lower and upper verification limits.
This form of verification should be used if (1) the two methods are substantially different e.g. the test method uses a different
analytical principle to the reference method, or (2) the manufacturer has not provided relevant bias information, or (3) an
EQA program does not exist that can be used for trueness verification, or (4) alternative reference materials suitable for
trueness verification are available e.g. calibrator materials from different batch numbers. The default minimum acceptable
imprecision is as published by RCPAQAP.
Name of Material Tested
Date of Analysis
Operator ID
Reagent Lot No
Calibrator Lot No
ENTER below MIMIMUM of 3 different batches of calibrators
| ID | Target Value | First Replicate | Second Replicate | Third Replicate | Mean | Strict | t-test
[17 empty] | SE | Abs Bias | Bias CI Lower | Bias CI Upper | Max Bias | Low cut off | High cut off
[17 empty] | 0 |  | #VALUE! | #VALUE! | 0 | 0 | 0
[17 empty] | 0 |  | #VALUE! | #VALUE! | 0 | 0 | 0
[17 empty] | 0 |  | #VALUE! | #VALUE! | 0 | 0 | 0
[17 empty] | 0 |  | #VALUE! | #VALUE! | 0 | 0 | 0
[17 empty] | 0 |  | #VALUE! | #VALUE! | 0 | 0 | 0
[17 empty] | 0 |  | #VALUE! | #VALUE! | 0 | 0 | 0
[17 empty] | 0 |  | #VALUE! | #VALUE! | 0 | 0 | 0
[17 empty] | 0 |  | #VALUE! | #VALUE! | 0 | 0 | 0
| Allowable bias |  | Alpha
5%
PRECISION
Material Used
Material Lot No.
Reagent Lot No.
Calibrator Lot No.
Claimed Imprecision
|  |  | Level 1 | Level 2 | Level 3 | Level 4
|  | Mean | 106 | 463 | 106 | 463
|  | Repeatability CV | 1% | 1% | 1% | 1%
|  | Within lab CV | 2.6% | 2.6% | 2.6% | 2.6%
ENTER up to 5 values per day for each level
| Day | Run | Level 1 | Level 2 | Level 3 | Level 4 | [14 empty] | Mean | 93.56 | 409.628 | 93.56 | 409.628
| Day 1 | Run 1 | 95.1 | 418.2 | 95.1 | 418.2 | [14 empty] | SS Total | 144.58 | 1653.3904 | 144.58 | 1653.3904
| Day 1 | Run 1 | 95.2 | 415.2 | 95.2 | 415.2 | [14 empty] | SST | 83.752 | 1426.5864 | 83.752 | 1426.5864
| Day 1 | Run 1 | 95.8 | 416.9 | 95.8 | 416.9 | [14 empty] | SSE | 60.828 | 226.804 | 60.828 | 226.804
| Day 1 | Run 1 | 95.4 | 416.3 | 95.4 | 416.3 | [14 empty] | DF Total | 24 | 24 | 24 | 24
| Day 1 | Run 1 | 95.9 | 416.8 | 95.9 | 416.8 | [14 empty] | DF Error | 20 | 20 | 20 | 20
| Day 2 | Run 1 | 98.2 | 421.3 | 98.2 | 421.3 | [14 empty] | DF T | 4 | 4 | 4 | 4
| Day 2 | Run 1 | 96.6 | 416.7 | 96.6 | 416.7 | [14 empty] | MST | 20.938 | 356.6466 | 20.938 | 356.6466
| Day 2 | Run 1 | 96.9 | 422.5 | 96.9 | 422.5 | [14 empty] | MSE | 3.0414 | 11.3402 | 3.0414 | 11.3402
| Day 2 | Run 1 | 96.2 | 419.9 | 96.2 | 419.9 | [14 empty] | F | 6.8843 | 31.4498 | 6.8843 | 31.4498
| Day 2 | Run 1 | 91.6 | 405.7 | 91.6 | 405.7 | [14 empty] | N | 25 | 25 | 25 | 25
| Day 3 | Run 1 | 94 | 413.3 | 94 | 413.3 | [14 empty] | P | 5 | 5 | 5 | 5
| Day 3 | Run 1 | 92 | 411.7 | 92 | 411.7 | [14 empty] | Sum GrpN2 | 125 | 125 | 125 | 125
| Day 3 | Run 1 | 93.1 | 413.8 | 93.1 | 413.8 | [14 empty] | Var Error | 3.0414 | 11.3402 | 3.0414 | 11.3402
| Day 3 | Run 1 | 92.7 | 412.3 | 92.7 | 412.3 | [14 empty] | Var B | 3.5793 | 69.0613 | 3.5793 | 69.0613
| Day 3 | Run 1 | 93.7 | 414.6 | 93.7 | 414.6 | [14 empty] | SD Error | 1.744 | 3.3675 | 1.744 | 3.3675
| Day 4 | Run 1 | 91.4 | 401.3 | 91.4 | 401.3 | [14 empty] | CV Error | 0.01864 | 0.0082209 | 0.01864 | 0.0082209
| Day 4 | Run 1 | 91.6 | 398.7 | 91.6 | 398.7 | [14 empty] | SD B | 1.8919 | 8.3103 | 1.8919 | 8.3103
| Day 4 | Run 1 | 92.5 | 399 | 92.5 | 399 | [14 empty] | CV B | 0.020221 | 0.020287 | 0.020221 | 0.020287
| Day 4 | Run 1 | 91.2 | 398.2 | 91.2 | 398.2 | [14 empty] | SD WL | 2.5731 | 8.9667 | 2.5731 | 8.9667
| Day 4 | Run 1 | 93 | 402.4 | 93 | 402.4 | [14 empty] | CV WL | 0.027502 | 0.02189 | 0.027502 | 0.02189
| Day 5 | Run 1 | 92.9 | 401.4 | 92.9 | 401.4 | [14 empty] | DF WL | 9.3662 | 5.0658 | 9.3662 | 5.0658
| Day 5 | Run 1 | 92.1 | 402 | 92.1 | 402 | [14 empty] | ChiSq E | 36.7605 | 36.7605 | 36.7605 | 36.7605
| Day 5 | Run 1 | 94.7 | 404.2 | 94.7 | 404.2 | [14 empty] | ChiSq WL | 21.5956 | 14.658 | 21.5956 | 14.658
| Day 5 | Run 1 | 89.2 | 399.7 | 89.2 | 399.7 | [14 empty] | F Error | 1.3557 | 1.3557 | 1.3557 | 1.3557
| Day 5 | Run 1 | 88 | 398.6 | 88 | 398.6 | [14 empty] | F WL | 1.5185 | 1.701 | 1.5185 | 1.701
|  | Repeatability | 1.3206 | 1.8351 | 1.3206 | 1.8351
|  | Between day | 1.8919 | 8.3103 | 1.8919 | 8.3103
|  | Within lab | 2.5731 | 8.9667 | 2.5731 | 8.9667
|  | Repeatability CV | 1.864% | 0.8221% | 1.864% | 0.8221%
|  | Between day CV | 2.022% | 92.68% | 73.53% | 92.68%
|  | Within lab CV | 2.75% | 2.189% | 2.75% | 2.189%
Upper Verification Limits
|  | Repeatability UVL | 1.356% | 1.356% | 1.356% | 1.356%
|  | Within lab UVL | 3.948% | 4.423% | 3.948% | 4.423%
Comparison to Claim
|  |  | Level 1 | Level 2 | Level 3 | Level 4
|  | Repeatability | Fail | Pass | Fail | Pass
|  | Within Lab Precision | Pass | Pass | Pass | Pass
Assay Capability
|  |  | Level 1 | Level 2 | Level 3 | Level 4
|  | Mean | 2.5731 | 8.9667 | 2.5731 | 8.9667
|  | RCPA APS | 388.6% | 111.5% | 388.6% | 111.5%
|  | Capability (σ) | 141.3139 | 50.9478 | 141.3139 | 50.9478
|  | Acceptability | Good | Good | Good | Good
Comparison to Biological Variation APS
|  | CVi | 4% |  |  | Specification
|  | CVg | 7.9% |  | Imprecision | 2%
|  | Required Category | Desirable |  | Bias | 2.214%
|  | alpha | 0.05 |  | Total Error | 5.503%
Upper Verification Limits
|  |  | Level 1 | Level 2 | Level 3 | Level 4
|  | Repeatability | 2.711% | 2.711% | 2.711% | 2.711%
|  | Within Lab Precision | 3.037% | 3.402% | 3.037% | 3.402%
Imprecision Verification Result
|  | Repeatability | Pass | Pass | Pass | Pass
|  | Within Lab Precision | Pass | Pass | Pass | Pass
REFERENCE INTERVALS
Reference Intervals that will be used
Reference Interval Verification
| LRL | URL |  |  |  | LRL | URL
| 30 | 110 |  |  |  | 30 | 110
| Sample ID | Operator | Result |  |  | Sample ID | Operator | Result
1 | Test 1 | T1 | 61 | 0 |  | Test 1 | T1 | 61 | 0
2 | Test 2 | T2 | 97 | 0 |  | Test 2 | T2 | 97 | 0
3 | Test 3 | T3 | 93 | 0 |  | Test 3 | T3 | 93 | 0
4 | Test 4 | T4 | 48 | 0 |  | Test 4 | T4 | 48 | 0
5 | Test 5 | T5 | 52 | 0 |  | Test 5 | T5 | 52 | 0
6 | Test 6 | T6 | 52 | 0 |  | Test 6 | T6 | 52 | 0
7 | Test 7 | T7 | 41 | 0 |  | Test 7 | T7 | 41 | 0
8 | Test 8 | T8 | 75 | 0 |  | Test 8 | T8 | 75 | 0
9 | Test 9 | T9 | 123 | 1 |  | Test 9 | T9 | 123 | 1
10 | Test 10 | T10 | 55 | 0 |  | Test 10 | T10 | 55 | 0
11 | Test 11 | T11 | 56 | 0 |  | Test 11 | T11 | 56 | 0
12 | Test 12 | T12 | 111 | 1 |  | Test 12 | T12 | 111 | 1
13 | Test 13 | T13 | 74 | 0 |  | Test 13 | T13 | 74 | 0
14 | Test 14 | T14 | 73 | 0 |  | Test 14 | T14 | 73 | 0
15 | Test 15 | T15 | 67 | 0 |  | Test 15 | T15 | 67 | 0
16 | Test 16 | T16 | 95 | 0 |  | Test 16 | T16 | 95 | 0
17 | Test 17 | T17 | 55 | 0 |  | Test 17 | T17 | 55 | 0
18 | Test 18 | T18 | 44 | 0 |  | Test 18 | T18 | 44 | 0
19 | Test 19 | T19 | 59 | 0 |  | Test 19 | T19 | 59 | 0
20 | Test 20 | T20 | 112 | 1 |  | Test 20 | T20 | 112 | 1
21 | [5 empty] | Test 21 | T21 | 95 | 0
22 | [5 empty] | Test 22 | T22 | 90 | 0
23 | [5 empty] | Test 23 | T23 | 44 | 0
24 | [5 empty] | Test 24 | T24 | 65 | 0
25 | [5 empty] | Test 25 | T25 | 62 | 0
26 | [5 empty] | Test 26 | T26 | 46 | 0
27 | [5 empty] | Test 27 | T27 | 97 | 0
28 | [5 empty] | Test 28 | T28 | 56 | 0
29 | [5 empty] | Test 29 | T29 | 70 | 0
30 | [5 empty] | Test 30 | T30 | 71 | 0
31 | [5 empty] | Test 31 | T31 | 48 | 0
32 | [5 empty] | Test 32 | T32 | 64 | 0
33 | [5 empty] | Test 33 | T33 | 44 | 0
34 | [5 empty] | Test 34 | T34 | 75 | 0
35 | [5 empty] | Test 35 | T35 | 57 | 0
36 | [5 empty] | Test 36 | T36 | 52 | 0
37 | [5 empty] | Test 37 | T37 | 69 | 0
38 | [5 empty] | Test 38 | T38 | 95 | 0
39 | [5 empty] | Test 39 | T39 | 51 | 0
40 | [5 empty] | Test 40 | T40 | 74 | 0
|  | Reference interval verification | Fail |  |  |  | Reference interval verification | Pass
|  | N | 20 |  |  |  | N | 40
|  | Outliers | 3 |  |  |  | Outliers | 3
|  | p | 0.015902 |  |  |  | p | 0.13815
LIMIT OF BLANK, DETECTION, QUANTITATION
| Date of analysis |  |  | Reagent Lot No.
| Operator ID |  |  | Calibrator Lot No.
Limit of Blank (LoB)
| ENTER the LoB claim |  | 0.9 | ng/L
ENTER min of 2 replicates, of min 2 blank samples, of min 3 days, for min of 20 values
[9 empty] | Bounds for observed proportion of results relative to a detection capability claim | [10 empty] | Values ≤ LoB claim
|  | Day | Date | Sample 1 | Sample 2 | Sample 3 |  |  | Total number of measurements (n) |  |  | % Observed proportion boundary | [7 empty] | 1 | 1 | 1
|  | Day 1 | 2022-10-23 | 0.5 | 0.8 |  |  |  | 20 |  |  | 85% | [7 empty] | 1 | 1 | 1
|  |  | 2022-10-23 | 0.5 | 0.5 |  |  |  | 30 |  |  | 86.67% | [7 empty] | 1 | 1 | 1
|  |  | 2022-10-23 | 0.6 | 0.6 |  |  |  | 40 |  |  | 90% | [7 empty] | 1 | 1 | 1
|  | Day 2 | 2022-10-24 | 0.7 | 0.7 |  |  |  | 50 |  |  | 90% | [7 empty] | 1 | 1 | 1
|  |  | 2022-10-24 | 0.7 | 0.7 |  |  |  | 60 |  |  | 90% | [7 empty] | 1 | 1 | 1
|  |  | 2022-10-24 | 0.8 | 0.9 |  |  |  | 70 |  |  | 90% | [7 empty] | 1 | 1 | 1
|  | Day 3 | 2022-10-25 | 0.5 | 0.6 |  |  |  | 80 |  |  | 91.25% | [7 empty] | 1 | 1 | 1
|  |  | 2022-10-25 | 0.4 | 0.5 |  |  |  | 90 |  |  | 91.11% | [7 empty] | 1 | 1 | 1
|  |  | 2022-10-25 | 0.6 | 0.7 |  |  |  | 100 |  |  | 91% |  |  |  |  | n <= LoB claim |  | 27
[9 empty] | 150 |  |  | 92% |  |  |  |  | % n<= LoB claim |  | 150 | %
[9 empty] | 200 |  |  | 92.5%
| Total number of values |  | 18 |  | Min Req | 15 |  |  | 250 |  |  | 92.8%
| mean of blank |  | 0.62778 |  | % Min Req | 83.33% |  |  | 300 |  |  | 93%
| SD of blank |  | 0.12826 | [5 empty] | 400 |  |  | 93.25%
Limit of blank (LoB) |  |  | 0.84232 | 0 | Alpha | 0.05 |  |  | 500 |  |  | 93.4%
|  |  | Pass |  | C_beta | 1.6727 |  |  | 1000 |  |  | 93.8%
Limit of Detection (LoD)
| ENTER the LoD claim |  | 1.1 | ng/L
Values ≥ LoB claim
|  | ENTER min of 2 replicates, of min 2 LoD claim samples, of min 3 days, for min of 20 values | [17 empty] | 1 | 1
1
|  | Day | Date | Sample 1 | Sample 2 | Sample 3 |  | Selected samples should have a concentration at the claimed LoD | [11 empty] | 1 | 1
|  | Day 1 | 2022-10-23 | 1 | 1 | [14 empty] | 1 | 1
|  |  | 2022-10-23 | 0.9 | 0.8 | [14 empty] | 1 | 1
|  |  | 2022-10-23 | 1 | 1.1 | [14 empty] | 1 | 1
|  | Day 2 | 2022-10-24 | 1.1 | 1 | [14 empty] | 1 | 1
|  |  | 2022-10-24 | 0.9 | 1 | [14 empty] | 1 | 1
|  |  | 2022-10-24 | 1.1 | 1.1 | [14 empty] | 1 | 1
|  | Day 3 | 2022-10-25 | 1.2 | 1.1 | [11 empty] | n >=LoB claim |  | 17
|  |  | 2022-10-25 | 1.1 | 0.9 | [11 empty] | % n >= LoB claim |  | 94.4444 | %
|  |  | 2022-10-25 | 1 | 1.1
|  |  | Sample SD | 0.094281 | 0.099381
|  |  |  | 0.0088889 | 0.0098765 | #N/A
| Total number of values |  | 18 |  | Min Req | 15
| Pooled SD |  | 0.096864 |  | % Min Req | 83.33%
|  | Limit of Detection | 1.062 | 0
|  |  | Pass |  | Alpha | 0.05
[5 empty] | C_beta | 1.6727
Limit of Quantitaion (LoQ)
| Enter the LoQ claim |  | 1.5 | ng/L
ENTER min of 2 replicates, of min 2 LoQ claim samples, of min 3 days, for min of 20 values
% difference from means
|  | Day | Date | Sample 1 | Sample 2 | Sample 3 |  |  | Sample 1 | Sample 2 | Sample 3 |  |  |  |  | Values < TEa |  |  |  | % difference calculations
|  | Day 1 | 2022-10-23 | 14 | 15 |  |  |  | 8.0292 | 1.4599 | #VALUE! | [5 empty] | 1 | #VALUE! |  | 8.0292 | 1.4599 | #VALUE!
|  |  | 2022-10-23 | 13 | 14 |  |  |  | 14.5985 | 8.0292 | #VALUE! | [6 empty] | #VALUE! |  | 14.5985 | 8.0292 | #VALUE!
|  |  | 2022-10-23 | 15 | 16 |  |  |  | 1.4599 | 5.1095 | #VALUE! |  |  |  |  | 1 | 1 | #VALUE! |  | 1.4599 | 5.1095 | #VALUE!
|  | Day 2 | 2022-10-24 | 16 | 15 |  |  |  | 5.1095 | 1.4599 | #VALUE! |  |  |  |  | 1 | 1 | #VALUE! |  | 5.1095 | 1.4599 | #VALUE!
|  |  | 2022-10-24 | 15 | 16 |  |  |  | 1.4599 | 5.1095 | #VALUE! |  |  |  |  | 1 | 1 | #VALUE! |  | 1.4599 | 5.1095 | #VALUE!
|  |  | 2022-10-24 | 17 | 14 |  |  |  | 11.6788 | 8.0292 | #VALUE! | [6 empty] | #VALUE! |  | 11.6788 | 8.0292 | #VALUE!
|  | Day 3 | 2022-10-25 | 15 | 16 |  |  |  | 1.4599 | 5.1095 | #VALUE! |  |  |  |  | 1 | 1 | #VALUE! |  | 1.4599 | 5.1095 | #VALUE!
|  |  | 2022-10-25 | 14 | 15 |  |  |  | 8.0292 | 1.4599 | #VALUE! | [5 empty] | 1 | #VALUE! |  | 8.0292 | 1.4599 | #VALUE!
|  |  | 2022-10-25 | 18 | 16 |  |  |  | 18.2482 | 5.1095 | #VALUE! | [5 empty] | 1 | #VALUE! |  | 18.2482 | 5.1095 | #VALUE!
|  | Sample mean |  | 15.2222 | 15.2222 | [7 empty] | n >= TEa |  | 11
|  |  | Sample SD | 1.4741 | 0.78567 | [7 empty] | % n >= TEa |  | 61.1111
|  |  | Sample CV | 9.684% | 5.161%
| Total number of values |  | 18 |  | Min Req | 15
| Total number of samples |  | 2 |  | % Min Req | 83.33%
Grand Mean |  |  | 15.2222
[5 empty] | Alpha | 0.05
| TEa |  | 5.5034 | % | C_beta | 1.6727
Fail
Note on B380: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Lower reference limit
Note on C380: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Upper reference limit
Note on G380: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Lower reference limit
Note on H380: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Upper reference limit

## APS
Procedure | Sample | Units | CVI | CVG | APS Abs | APS Rel | APS Cut | Half Life | Dose Interval
17-Hydroxyprogesterone | Serum/Plasma | nmol/L | 0.237 | 0.263 | 2 | 0.2 | 10
3-Methoxytyramine (Urine) | Urine | umol/L |  |  | 0.3 | 0.15 | 2
5-Hydroxyindoleacetic acid (Urine) | Urine | umol/L |  |  | 8 | 0.2 | 40
Acid Phosphatase (Prostatic) | Serum | U/L | 0.338 |  | 1.5 | 0.15 | 10
Acid Phosphatase (Tartrate Resistant) | Serum | U/L | 0.108 | 0.133 | 1.5 | 0.15 | 10
Acid Phosphatase (Total) | Serum | U/L | 0.089 | 0.08 | 1.5 | 0.15 | 10
Activated Partial Thromboplastin Time | Plasma | s | 0.028 | 0.072 | 10 | 0.25 | 40
Adrenaline | Plasma | pmol/L | 0.483 |  | 30 | 0.3 | 100
Adrenaline (Urine) | Urine | nmol/L |  |  | 30 | 0.3 | 100
Adrenocorticotropic hormone (mass) | Plasma | ng/L |  |  | 9 | 0.1 | 90
Adrenocorticotropic hormone (molar) | Plasma | pmol/L |  |  | 2 | 0.1 | 20
Alanine aminotransferase | Serum/Plasma | U/L | 0.126 | 0.3 | 5 | 0.12 | 40
Albumin | Serum/Plasma | g/L | 0.025 | 0.043 | 2 | 0.06 | 33
Albumin (CSF) | CSF | g/L |  |  | 0.02 | 0.2 | 0.1
Albumin (Fluid) | Body Fluid | g/L |  |  | 2 | 0.06 | 33
Albumin (Urine) | Urine | mg/L | 0.36 | 0.55 | 4 | 0.2 | 20
Aldosterone | Serum/Plasma | pmol/L | 0.366 | 0.347 | 24 | 0.15 | 160
Alkaline Phosphatase | Serum/Plasma | U/L | 0.052 | 0.226 | 15 | 0.12 | 125
Alpha-1-antitrypsin | Serum/Plasma | g/L | 0.038 | 0.101 | 0.1 | 0.2 | 0.5
Alphafetoprotein | Serum/Plasma | kIU/L | 0.046 | 0.552 | 2 | 0.12 | 17
Amikacin | Serum/Plasma | mg/L |  |  | 2 | 0.1 | 19.9 | 2 | 8
Aminolevulinic acid | Urine | umol/L |  |  | 8 | 0.25 | 32
Amiodarone | Serum/Plasma | mg/L |  |  | 0.13 | 0.1 | 1.3
Amitriptyline | Serum/Plasma | ug/L |  |  | 3 | 0.1 | 28
Ammonia | Serum/Plasma | umol/L |  |  | 5 | 0.1 | 50
Ammonia (Urine) | Urine | umol/L |  |  | 5 | 0.1 | 50
Amphetamine (class) (Urine) | Urine | ug/L |  |  | 75 | 0.25 | 300
Amylase | Serum/Plasma | U/L | 0.068 | 0.248 | 10 | 0.1 | 100
Amylase (Fluid) | Body Fluid | U/L |  |  | 20 | 0.2 | 100
Amylase (Urine) | Urine | U/L | 0.94 | 0.46 | 20 | 0.2 | 100
Androstenedione | Blood | nmol/L | 0.199 | 0.335 | 1.5 | 0.15 | 10
Angiotensin Converting Enzyme | Plasma | U/L |  |  | 1 | 0.1 | 10
Ant Mullerian Hormone | Serum/Plasma | pmol/L | 0.192 | 0.204 | 1 | 0.15 | 6
Apolipoprotein A1 | Serum/Plasma | g/L | 0.047 | 0.08 | 0.2 | 0.1 | 2
Apolipoprotein B | Serum/Plasma | g/L | 0.062 | 0.204 | 0.2 | 0.1 | 2
Aspartate aminotransferase | Serum/Plasma | U/L | 0.086 | 0.196 | 5 | 0.12 | 40
Barbiturates (Urine) | Urine | mg/L |  |  | 50 | 0.25 | 200 | 50 | 12
Benzodiazepines (class) (Urine) | Urine | ug/L |  |  | 50 | 0.25 | 200
Beta Hydroxybutyrate (mmol/L) | Serum/Plasma | mmol/L | 0.04 | 0.195 |  | 0.15
Beta Hydroxybutyrate (umol/L) | Serum/Plasma | umol/L | 0.04 | 0.195 |  | 0.15
Beta-2-Microglobulin | Serum/Plasma | mg/L | 0.041 | 0.115 | 0.2 | 0.1 | 2
Bicarbonate | Serum/Plasma | mmol/L | 0.04 | 0.048 | 2 | 0.1 | 20
Bile Acids (Total) | Serum/Plasma | umol/L |  |  | 4 | 0.1 | 40
Bilirubin (Conjugated) | Serum/Plasma | umol/L | 0.195 | 0.219 | 3 | 0.2 | 15
Bilirubin (CSF) | CSF | umol/L |  |  | 0.12 | 0.2 | 0.6
Bilirubin (Neonatal) | Serum/Plasma | umol/L | 0.202 | 0.249 | 8 | 0.1 | 80
Bilirubin (Total) | Serum/Plasma | umol/L | 0.202 | 0.249 | 3 | 0.12 | 25
Blood (Faeces) | Faeces | ug/L |  |  | 15 | 0.15 | 100
Brain Natriuretic Peptide | Plasma | ng/L | 0.44 | 0.56 | 20 | 0.2 | 100
C-Peptide | Serum/Plasma | nmol/L | 0.166 | 0.232 | 0.15 | 0.12 | 1.25
C-Reactive Protein | Serum/Plasma | mg/L | 0.347 | 0.871 | 0.8 | 0.2 | 4
C-Reactive Protein (high sensitivity) | Serum/Plasma | mg/L |  |  | 0.6 | 0.2 | 3
C1 esterase inhibitor | Serum/Plasma | g/L |  |  | 0.03 | 0.15 | 0.2
C3 Complement | Serum/Plasma | g/L | 0.046 | 0.152 | 0.1 | 0.1 | 1
C4 Complement | Serum/Plasma | g/L | 0.069 | 0.245 | 0.02 | 0.1 | 0.2
CA 125 | Serum/Plasma | kU/L | 0.087 | 0.255 | 6 | 0.12 | 50 | 336
CA 15-3 | Serum/Plasma | kU/L | 0.061 | 0.629 | 3 | 0.1 | 30 | 240
CA 19-9 | Serum/Plasma | kU/L | 0.043 | 0.574 | 6 | 0.15 | 40
CA 19-9 (Fluid) | Body Fluid | kU/L |  |  | 12 | 0.3 | 40
Caeruloplasmin | Serum/Plasma | g/L | 0.05 | 0.151 | 0.03 | 0.15 | 0.2
Calcitonin | Blood | ng/L | 0.13 | 0.658 | 2 | 0.1 | 20
Calcium | Serum/Plasma | mmol/L | 0.018 | 0.022 | 0.1 | 0.04 | 2.5
Calcium (Ionised) | Blood | mmol/L | 0.017 | 0.019 | 0.04 | 0.04 | 1
Calcium (Urine) | Urine | mmol/L | 0.275 | 0.366 | 0.2 | 0.1 | 2
Cannabinoids (class) (Urine) | Urine | ug/L |  |  | 12.5 | 0.25 | 50
Carbamazepine (mass) | Serum/Plasma | mg/L |  |  | 0.5 | 0.1 | 4.7 | 27 | 12
Carboxyhaemoglobin | Blood | % |  |  | 1 | 0.2 | 5
Carcinoembryonic Antigen | Serum/Plasma | ug/L | 0.068 | 0.593 | 0.6 | 0.12 | 5
Carcinoembryonic Antigen (Fluid) | Body Fluid | ug/L |  |  | 1.2 | 0.24 | 5
Chloride | Serum/Plasma | mmol/L | 0.01 | 0.013 | 3 | 0.03 | 100
Chloride (Blood) | Blood | mmol/L | 0.01 | 0.013 | 3 | 0.03 | 100
Chloride (Sweat) | Sweat | mmol/L |  |  | 2 | 0.05 | 40
Chloride (Urine) | Urine | mmol/L |  |  | 4 | 0.1 | 40
Cholesterol | Serum/Plasma | mmol/L | 0.053 | 0.155 | 0.3 | 0.06 | 5
Cholesterol (fluid) | Body Fluid | mmol/L |  |  | 0.3 | 0.12 | 2.5
Cholinesterase | Serum/Plasma | kU/L | 0.061 | 0.182 | 500 | 0.1 | 5000
Ciclosporin (Blood) | Blood | ug/L |  |  | 10 | 0.1 | 100 | 19 | 12
CO2 (Partial pressure) | Blood | mmHg | 0.048 | 0.053 | 2 | 0.6 | 34
Cocaine (class) (Urine) | Urine | ug/L |  |  | 75 | 0.25 | 300
Conductivity | Sweat | mmol/L |  |  | 2 | 0.05 | 50
Copper | Serum/Plasma | umol/L | 0.078 | 0.135 | 1.6 | 0.08 | 20
Cortisol | Serum/Plasma | nmol/L | 0.162 | 0.215 | 15 | 0.15 | 100
Cortisol (Urine) | Urine | nmol/L |  |  | 30 | 0.15 | 200
Creatine Kinase | Serum/Plasma | U/L | 0.141 | 0.329 | 15 | 0.12 | 125
Creatine Kinase MB | Serum/Plasma | ug/L | 0.184 | 0.612 | 3 | 0.2 | 15
Creatinine | Serum/Plasma | umol/L | 0.044 | 0.158 | 8 | 0.08 | 100
Creatinine (Blood) | Blood | umol/L | 0.044 | 0.158 | 8 | 0.08 | 100
Creatinine (enzymatic) | Serum/Plasma | umol/L | 0.044 | 0.158 | 8 | 0.08 | 100
Creatinine (Fluid) | Body Fluid | mmol/L |  |  | 16 | 0.16 | 100
Creatinine (Urine) | Urine | mmol/L | 0.232 | 0.257 | 0.5 | 0.1 | 5
CTX Beta-Crosslaps | Serum/Plasma | ng/L | 0.145 | 0.444 | 10 | 0.1 | 100
D-Dimer | Plasma | mg/L | 0.233 | 0.265 | 0.5 | 0.5 | 1
Dehydroepiandrosterone Sulfate | Serum/Plasma | umol/L | 0.2 | 0.49 | 1.2 | 0.12 | 10
Deoxypyridinoline crosslinks (Urine) | Urine | nmol/L |  |  | 15 | 0.15 | 80
Digoxin (mass) | Serum/Plasma | ug/L |  |  | 0.2 | 0.1 | 1.6 | 36 | 24
Dihydrotestosterone | Serum/Plasma | nmol/L |  |  | 0.1 | 0.15 | 0.5
Dopamine (Urine) | Urine | umol/L |  |  | 0.2 | 0.1 | 2
Ethanol | Serum/Plasma | mmol/L |  |  | 2 | 0.1 | 20
Everolimus | Serum/Plasma | ug/L |  |  | 0.5 | 0.1 | 5 | 28 | 12
Ferritin | Serum/Plasma | ug/L | 0.129 | 0.15 | 2 | 0.15 | 27
Fibrinogen | Plasma | g/L | 0.102 | 0.171 | 0.2 | 0.25 | 1
Fibroblast Growth Factor 23 | Serum/Plasma | ng/L | 0.14 | 0.225 | 0.1 | 0.17 | 0.6
Fluconazole | Serum/Plasma | mg/L |  |  | 2 | 0.1 | 20 | 30 | 24
Flucytosine | Serum/Plasma | mg/L |  |  | 10 | 0.1 | 100 | 3.6 | 6
Folate | Serum/Plasma | nmol/L | 0.112 | 0.265 | 1.5 | 0.25 | 6
Folate (Red Cell) | Blood | nmol/L |  |  | 80 | 0.2 | 400
Follicle Stimulating Hormone | Serum/Plasma | IU/L | 0.095 | 0.379 | 1 | 0.1 | 10
Free Beta Human Chorionic Gonadotropin | Serum/Plasma | IU/L | 0.038 | 0.045 | 1 | 0.1 | 10
Fructosamine | Serum/Plasma | umol/L | 0.023 | 0.063 | 15 | 0.06 | 250
Gamma glutamyltransferase | Serum/Plasma | U/L | 0.083 | 0.451 | 5 | 0.12 | 40
Gastrin | Serum/Plasma | pmol/L |  |  | 10 | 0.1 | 100
Gentamicin | Serum/Plasma | mg/L |  |  | 0.2 | 0.1 | 2 | 3 | 8
Glucose | Blood | mmol/L | 0.047 | 0.08 | 0.4 | 0.08 | 5
Glucose (Blood) | Blood | mmol/L | 0.047 | 0.08 | 0.4 | 0.08 | 5
Glucose (CSF) | CSF | mmol/L |  |  | 0.2 | 0.1 | 2
Glucose (Fluid) | Body Fluid | mmol/L |  |  | 0.4 | 0.08 | 5
Glucose (Urine) | Urine | mmol/L |  |  | 1 | 0.1 | 10
Growth Hormone | Serum/Plasma | mIU/L |  |  | 1 | 0.15 | 7
Haematocrit (POCT) | Blood | % | 0.023 | 0.055 | 4 | 0.2 | 20
Haemoglobin (Plasma Free) | Serum/Plasma | g/L | 0.0871 | 0.071 | 0.08 | 0.1 | 0.8
Haemoglobin (POCT) | Blood | g/L | 0.03 | 0.07 | 5 | 0.05 | 100
Haptoglobin | Serum/Plasma | g/L | 0.086 | 0.39 | 0.1 | 0.1 | 0.8
HbA1c (IFCC) | Blood | mmol/mol | 0.017 | 0.072 | 4 | 0.08 | 45
HbA1c (NGSP) | Blood | % | 0.012 | 0.054 | 0.4 | 0.06 | 6.7
HDL Cholesterol | Serum/Plasma | mmol/L | 0.057 | 0.228 | 0.1 | 0.12 | 0.8
Holotranscobalamin | Serum | pmol/L | 0.16 | 0.35 | 5 | 0.15 | 35
Homocysteine | Serum/Plasma | umol/L | 0.061 | 0.273 | 1.5 | 0.1 | 15
Homovanillic Acid (Urine) | Urine | umol/L | 0.41 | 0.713 | 6 | 0.15 | 40
Human Chorionic Gonadotropin | Serum/Plasma | U/L |  |  | 1 | 0.1 | 10
Human Epididymal Protein 4 | Serum/Plasma | pmol/L | 0.071 | 0.179 | 10 | 0.15 | 150
Hydroxyindole Acetic Acid | Urine | umol/L |  |  | 8 | 0.2 | 40
Hydroxyitraconazole | Serum/Plasma | mg/L |  |  | 0.2 | 0.1 | 2
Hydroxymethyl mandelic acid (Urine) | Urine | umol/L |  |  | 6 | 0.15 | 40
IGF Binding Protein 3 | Serum/Plasma | mg/L | 0.101 | 0.639 | 0.46 | 0.15 | 2.88
IGF Binding Protein 3 (molar) | Serum/Plasma | nmol/L | 0.101 | 639 | 15 | 0.15 | 100
Immunoglobulin A | Serum/Plasma | g/L | 0.075 | 0.325 | 0.06 | 0.1 | 0.6
Immunoglobulin G | Serum/Plasma | g/L | 0.035 | 0.171 | 0.6 | 0.1 | 6
Immunoglobulin G (CSF) | CSF | g/L |  |  | 0.02 | 0.2 | 0.1
Immunoglobulin M | Serum/Plasma | g/L | 0.059 | 0.485 | 0.08 | 0.15 | 0.5
Insulin | Serum/Plasma | mIU/L | 0.254 | 0.335 | 0.6 | 0.12 | 5
Insulin Like Growth Factor 1 (mass) | Serum/Plasma | ug/L | 0.094 | 0.27 | 23 | 0.12 | 191
Insulin Like Growth Factor 1 (molar) | Serum/Plasma | nmol/L | 0.094 | 0.27 | 3 | 0.12 | 25
Iron | Serum/Plasma | umol/L | 0.252 | 0.28 | 3 | 0.12 | 25
Itraconazole | Serum/Plasma | mg/L |  |  | 0.1 | 0.1 | 1 | 38 | 12
Lactate | Serum/Plasma | mmol/L | 0.272 | 0.167 | 0.5 | 0.12 | 4
Lactate (Blood) | Blood | mmol/L | 0.272 | 0.167 | 0.5 | 0.12 | 4
Lactate (CSF) | CSF | mmol/L |  |  | 0.3 | 0.1 | 3
Lactate (Fluid) | Body Fluid | mmol/L |  |  | 1 | 0.25 | 4
Lactate Dehydrogenase | Serum/Plasma | U/L | 0.044 | 0.118 | 20 | 0.08 | 250
Lactate Dehydrogenase (Fluid) | Body Fluid | U/L |  |  | 20 | 0.08 | 250
LDL Cholesterol | Serum/Plasma | mmol/L | 0.074 | 0.243 | 0.2 | 0.1 | 2
Lipase | Serum/Plasma | U/L | 0.076 | 0.24 | 12 | 0.2 | 60
Lipase (Fluid) | Body Fluid | U/L |  |  | 24 | 0.4 | 60
Lipoprotein (a) (mass) | Serum/Plasma | g/L | 0.102 | 0.858 | 0.06 | 0.2 | 0.3
Lithium | Serum/Plasma | mmol/L |  |  | 0.2 | 0.1 | 2 | 24 | 12
Luteinising Hormone | Serum/Plasma | IU/L | 0.252 | 0.214 | 1.5 | 0.15 | 10
Magnesium | Serum/Plasma | mmol/L | 0.027 | 0.059 | 0.1 | 0.08 | 1.25
Magnesium (Urine) | Urine | mmol/L | 0.383 | 0.376 | 0.3 | 0.15 | 2
Metanephrine (Plasma) | Plasma | pmol/L |  |  | 75 | 0.15 | 500
Metanephrine (Urine) | Urine | umol/L | 0.463 | 0.768 | 0.2 | 0.2 | 1
Methadone Metabolite | Urine | ug/L |  |  | 25 | 0.25 | 100
Methaemoglobin (Blood) | Blood | % |  |  | 2 | 0.2 | 10
Methotrexate | Serum/Plasma | umol/L |  |  | 0.1 | 0.1 | 1 | 8 | 24
Methoxytyramine (Plasma) | Plasma | pmol/L |  |  | 36 | 0.3 | 120
Mycophenolate | Serum/Plasma | mg/L |  |  | 0.1 | 0.1 | 1
N-telopeptide (Urine) | Urine | nM BCE/L |  |  | 80 | 0.1 | 700
N-terminal proBNP | Serum/Plasma | ng/L | 0.208 | 0.362 | 25 | 0.2 | 125
Neuron Specific Enolase | Serum/Plasma | ug/L | 0.109 | 0.166 | 2 | 0.1 | 20
Noradrenaline (Urine) | Urine | nmol/L |  |  | 75 | 0.15 | 500
Normetanephrine (Plasma) | Plasma | pmol/L |  |  | 200 | 0.2 | 1000
Normetanephrine (Urine) | Urine | umol/L |  |  | 0.4 | 0.2 | 2
Nortriptyline | Serum/Plasma | ug/L |  |  | 3 | 0.1 | 26
Oestradiol | Serum/Plasma | pmol/L | 0.15 | 0.181 | 25 | 0.25 | 100
Oestriol | Serum/Plasma | nmol/L |  |  | 0.9 | 0.15 | 6
Opiates (class) (Urine) | Urine | ug/L |  |  | 75 | 0.25 | 300
Osmolality | Serum/Plasma | mmol/kg | 0.013 | 0.015 | 8 | 0.03 | 266
Osmolality (Fluid) | Body Fluid | mmol/kg |  |  | 8 | 0.03 | 266
Osmolality (Urine) | Urine | mmol/kg | 0.283 | 0.579 | 6 | 0.02 | 300
Oxygen partial pressure (Blood) | Blood | mmHg |  |  | 5 | 0.06 | 83
Oxyhaemoglobin (Blood) | Blood | % |  |  | 3 | 0.04 | 75
Paracetamol (mass) | Serum/Plasma | mg/L |  |  | 3 | 0.1 | 30 | 2.5 | 4
Parathyroid Hormone (mass) | Serum/Plasma | ng/L | 0.147 | 0.289 | 9.43 | 0.12 | 75.4
Parathyroid Hormone (molar) | Serum/Plasma | pmol/L | 0.147 | 0.289 | 1 | 0.12 | 8
pH (Blood) | Blood | - | 0.002 |  | 0.04 |  | 50
pH (Fluid) | Body Fluid | - |  |  | 0.2 |  | 50
Phenobarbitone (mass) | Serum/Plasma | mg/L |  |  | 0.7 | 0.1 | 7 | 79 | 24
Phenytoin (mass) | Serum/Plasma | mg/L |  |  | 0.8 | 0.1 | 7.6 | 22 | 8
Phosphate | Blood | mmol/L | 0.077 | 0.107 | 0.06 | 0.08 | 0.75
Phosphate (Urine) | Urine | mmol/L | 0.18 | 0.226 | 3 | 0.15 | 20
Porphobilinogen (Urine) | Urine | umol/L | 0.17 | 0.31 | 5 | 0.25 | 20
Porphyrins (Blood) | Blood | umol/Lrc |  |  | 0.4 | 0.2 | 2
Porphyrins (Faeces) | Faeces | umol/kg |  |  | 40 | 0.2 | 200
Porphyrins (Plasma) | Plasma | nmol/L |  |  | 4 | 0.2 | 20
Porphyrins (Urine) | Urine | nmol/L |  |  | 60 | 0.2 | 300
Posaconazole | Serum/Plasma | mg/L |  |  | 0.1 | 0.1 | 1 | 35 | 24
Potassium | Serum/Plasma | mmol/L | 0.039 | 0.055 | 0.2 | 0.05 | 4
Potassium (Blood) | Blood | mmol/L | 0.039 | 0.055 | 0.2 | 0.05 | 4
Potassium (Fluid) | Body Fluid | mmol/L |  |  | 0.4 | 0.1 | 4
Potassium (Urine) | Urine | mmol/L | 0.244 | 0.222 | 2 | 0.1 | 20
Prealbumin | Serum/Plasma | g/L | 0.109 | 0.191 | 0.04 | 0.2 | 0.2
Procalcitonin | Serum/Plasma | ug/L |  |  | 0.05 | 0.3 | 0.15
Procollagen type 1 N-terminal propeptide | Serum/Plasma | ug/L | 0.088 | 0.349 | 5 | 0.1 | 50
Progesterone | Serum/Plasma | nmol/L | 0.185 | 0.397 | 2 | 0.15 | 10
Prolactin | Serum/Plasma | mIU/L | 0.45 | 0.643 | 40 | 0.1 | 400
Prostate Specific Antigen | Serum/Plasma | ug/L | 0.068 | 0.42 | 0.4 | 0.08 | 5
Prostate Specific Antigen (Free) | Serum/Plasma | ug/L | 0.071 | 0.462 | 0.2 | 0.15 | 1.4
Protein | Serum/Plasma | g/L | 0.026 | 0.037 | 3 | 0.05 | 60
Protein (CSF) | CSF | g/L |  |  | 0.05 | 0.1 | 0.5
Protein (Fluid) | Body Fluid | g/L |  |  | 3 | 0.05 | 60
Protein (Urine) | Urine | g/L | 0.355 | 0.237 | 0.1 | 0.1 | 1
Prothrombin Time | Plasma | s | 0.026 | 0.051 | 2 | 0.2 | 10
Renin (conc) | Plasma | mU/L | 0.301 | 0.416 | 6 | 0.3 | 20
Rheumatoid factor | Serum | IU/mL |  |  | 12 | 0.2 | 60
Salicylate (mass) | Serum/Plasma | mg/L |  |  | 14 | 0.1 | 143 | 20 | 8
Serotonin (Urine) | Urine | umol/L |  |  | 0.2 | 0.2 | 1
Sex Hormone Binding Globulin | Blood | nmol/L | 0.083 | 0.441 | 6 | 0.12 | 50
Sirolimus (Blood) | Blood | ug/L |  |  | 0.5 | 0.1 | 5 | 62 | 24
Sodium | Serum/Plasma | mmol/L | 0.005 | 0.008 | 3 | 0.02 | 150
Sodium (Blood) | Blood | mmol/L | 0.005 | 0.008 | 3 | 0.02 | 150
Sodium (Fluid) | Body Fluid | mmol/L |  |  | 6 | 0.04 | 150
Sodium (Sweat) | Sweat | mmol/L |  |  | 2 | 0.05 | 40
Sodium (Urine) | Urine | mmol/L | 0.287 | 0.167 | 4 | 0.1 | 40
Soluble FMS Like Tyrosine Kinase 1 | Serum | ng/L | 0.04 | 0.079 | 10 | 0.1 | 100
Tacrolimus (Blood) | Blood | ug/L |  |  | 0.5 | 0.1 | 5 | 12 | 12
Testosterone | Serum/Plasma | nmol/L | 0.143 | 0.227 | 0.4 | 0.15 | 2.7
Theophylline (mass) | Serum/Plasma | mg/L |  |  | 0.5 | 0.1 | 5.4 | 8 | 6
Thrombin Time (Plasma) | Plasma | s |  |  | 3 | 0.25 | 12
Thyroglobulin | Serum/Plasma | ug/L | 0.118 | 0.793 | 0.2 | 0.12 | 1.7
Thyroid Stimulating Hormone | Serum/Plasma | mU/L | 0.178 | 0.36 | 0.1 | 0.2 | 0.5
Thyrotropin Receptor Antibodies | Serum/Plasma | IU/L | 0.212 | 0.35 |  | 0.277
Thyroxine (free) | Serum/Plasma | pmol/L | 0.048 | 0.08 | 1.5 | 0.12 | 12
Thyroxine (total) | Serum/Plasma | nmol/L | 0.062 | 0.119 | 12 | 0.1 | 120
Tobramycin | Serum/Plasma | mg/L |  |  | 0.2 | 0.1 | 2 | 3 | 8
Total Iron Binding Capacity | Serum/Plasma | umol/L |  |  | 4 | 0.08 | 50
Transferrin | Serum/Plasma | g/L | 0.039 | 0.139 | 0.2 | 0.08 | 2.5
Triglycerides | Serum/Plasma | mmol/L | 0.198 | 0.353 | 0.2 | 0.12 | 1.6
Triglycerides (Fluid) | Body Fluid | mmol/L |  |  | 0.3 | 0.25 | 1.2
Triiodothyronine (free) | Serum/Plasma | pmol/L | 0.051 | 0.081 | 0.7 | 0.2 | 3.5
Triiodothyronine (total) | Serum/Plasma | nmol/L | 0.094 | 0.185 | 0.2 | 0.15 | 1.3
Troponin I (hs) | Serum/Plasma | ng/L | 0.111 | 0.344 | 2 | 0.2 | 10
Troponin I (POCT) | Blood | ug/L | 0.111 | 0.344 | 0.01 | 0.2 | 0.05
Troponin T (hs) | Serum/Plasma | ng/L | 0.122 | 0.309 | 10 | 0.2 | 50
Troponin T (POCT) | Blood | ng/L | 0.122 | 0.309 | 10 | 0.2 | 50
Urate (Fluid) | Body Fluid | mmol/L |  |  | 0.06 | 0.16 | 0.38
Urate (mmol/L) | Serum/Plasma | mmol/L | 0.083 | 0.209 | 0.03 | 0.08 | 0.38
Urate (umol/L) | Serum/Plasma | umol/L | 0.083 | 0.209 | 30 | 0.08 | 380
Urate (Urine) | Urine | mmol/L | 0.168 | 0.144 | 0.3 | 0.15 | 2
Urea | Serum/Plasma | mmol/L | 0.131 | 0.203 | 0.5 | 0.12 | 4
Urea (Fluid) | Body Fluid | mmol/L |  |  | 1 | 0.24 | 4
Urea (Urine) | Urine | mmol/L | 0.174 | 0.254 | 20 | 0.1 | 200
Valproate (mass) | Serum/Plasma | mg/L |  |  | 4 | 0.1 | 36 | 16 | 12
Vancomycin | Serum/Plasma | mg/L |  |  | 2 | 0.1 | 20.3 | 6 | 6
Vitamin A (Serum) | Serum/Plasma | umol/L | 0.06 | 0.211 | 0.2 | 0.12 | 1.7
Vitamin B1 (Plasma) | Blood | nmol/L | 0.05 | 0.12 | 15 | 0.1 | 150
Vitamin B12 | Serum | pmol/L | 0.072 | 0.37 | 18 | 0.15 | 120
Vitamin B2 | Serum/Plasma | nmol/L | 0.058 | 0.1 | 9 | 0.25 | 36
Vitamin B6 (Blood) | Blood | nmol/L | 0.2 | 0.34 | 9 | 0.15 | 60
Vitamin B6 (Plasma) | Serum/Plasma | nmol/L |  |  | 9 | 0.15 | 60
Vitamin C | Serum/Plasma | umol/L | 0.234 | 0.242 | 7 | 0.2 | 35
Vitamin D (25-hydroxy) | Serum/Plasma | nmol/L | 0.068 | 0.376 | 9 | 0.15 | 60
Voriconazole | Serum/Plasma | mg/L |  |  | 0.2 | 0.1 | 2
Xanthochromia - Bilirubin | CSF | AU |  |  | 0.002 | 0.2 | 0.007
Xanthochromia - Haemoglobin | CSF | AU |  |  | 0.02 | 0.2 | 0.1
Zinc | Serum/Plasma | umol/L | 0.085 | 0.087 | 2 | 0.1 | 20

## Tables
Analyte Lookup | 17-Hydroxyprogesterone | Quality Stringency | Yes No | Date | Version | Comments
| 3-Methoxytyramine (Urine) | Optimal | N | 2025-09-22 | 0.0.0.1 | Initial draft
| 5-Hydroxyindoleacetic acid (Urine) | Desirable | Y
| Acid Phosphatase (Prostatic) | Minimal
Acid Phosphatase (Tartrate Resistant)
Acid Phosphatase (Total)
Activated Partial Thromboplastin Time
Adrenaline
| Adrenaline (Urine) | Matrix | Run
| Adrenocorticotropic hormone (mass) | Serum/Plasma | 1
| Adrenocorticotropic hormone (molar) | Plasma | 2
| Alanine aminotransferase | Serum | 3
| Albumin | Blood | 4
| Albumin (CSF) | Urine
| Albumin (Fluid) | CSF
| Albumin (Urine) | Pleural fluid
| Aldosterone | Peritoneal fluid
| Alkaline Phosphatase | Drain fluid
| Alpha-1-antitrypsin | Dialysate
Alphafetoprotein
Amikacin
Aminolevulinic acid
Amiodarone
Amitriptyline
Ammonia
Ammonia (Urine)
Amphetamine (class) (Urine)
Amylase
Amylase (Fluid)
Amylase (Urine)
Androstenedione
Angiotensin Converting Enzyme
Ant Mullerian Hormone
Apolipoprotein A1
Apolipoprotein B
Aspartate aminotransferase
Barbiturates (Urine)
Benzodiazepines (class) (Urine)
Beta Hydroxybutyrate (mmol/L)
Beta Hydroxybutyrate (umol/L)
Beta-2-Microglobulin
Bicarbonate
Bile Acids (Total)
Bilirubin (Conjugated)
Bilirubin (CSF)
Bilirubin (Neonatal)
Bilirubin (Total)
Blood (Faeces)
Brain Natriuretic Peptide
C-Peptide
C-Reactive Protein
C-Reactive Protein (high sensitivity)
C1 esterase inhibitor
C3 Complement
C4 Complement
CA 125
CA 15-3
CA 19-9
CA 19-9 (Fluid)
Caeruloplasmin
Calcitonin
Calcium
Calcium (Ionised)
Calcium (Urine)
Cannabinoids (class) (Urine)
Carbamazepine (mass)
Carboxyhaemoglobin
Carcinoembryonic Antigen
Carcinoembryonic Antigen (Fluid)
Chloride
Chloride (Blood)
Chloride (Sweat)
Chloride (Urine)
Cholesterol
Cholesterol (fluid)
Cholinesterase
Ciclosporin (Blood)
CO2 (Partial pressure)
Cocaine (class) (Urine)
Conductivity
Copper
Cortisol
Cortisol (Urine)
Creatine Kinase
Creatine Kinase MB
Creatinine
Creatinine (Blood)
Creatinine (enzymatic)
Creatinine (Fluid)
Creatinine (Urine)
CTX Beta-Crosslaps
D-Dimer
Dehydroepiandrosterone Sulfate
Deoxypyridinoline crosslinks (Urine)
Digoxin (mass)
Dihydrotestosterone
Dopamine (Urine)
Ethanol
Everolimus
Ferritin
Fibrinogen
Fibroblast Growth Factor 23
Fluconazole
Flucytosine
Folate
Folate (Red Cell)
Follicle Stimulating Hormone
Free Beta Human Chorionic Gonadotropin
Fructosamine
Gamma glutamyltransferase
Gastrin
Gentamicin
Glucose
Glucose (Blood)
Glucose (CSF)
Glucose (Fluid)
Glucose (Urine)
Growth Hormone
Haematocrit (POCT)
Haemoglobin (Plasma Free)
Haemoglobin (POCT)
Haptoglobin
HbA1c (IFCC)
HbA1c (NGSP)
HDL Cholesterol
Holotranscobalamin
Homocysteine
Homovanillic Acid (Urine)
Human Chorionic Gonadotropin
Human Epididymal Protein 4
Hydroxyindole Acetic Acid
Hydroxyitraconazole
Hydroxymethyl mandelic acid (Urine)
IGF Binding Protein 3
IGF Binding Protein 3 (molar)
Immunoglobulin A
Immunoglobulin G
Immunoglobulin G (CSF)
Immunoglobulin M
Insulin
Insulin Like Growth Factor 1 (mass)
Insulin Like Growth Factor 1 (molar)
Iron
Itraconazole
Lactate
Lactate (Blood)
Lactate (CSF)
Lactate (Fluid)
Lactate Dehydrogenase
Lactate Dehydrogenase (Fluid)
LDL Cholesterol
Lipase
Lipase (Fluid)
Lipoprotein (a) (mass)
Lithium
Luteinising Hormone
Magnesium
Magnesium (Urine)
Metanephrine (Plasma)
Metanephrine (Urine)
Methadone Metabolite
Methaemoglobin (Blood)
Methotrexate
Methoxytyramine (Plasma)
Mycophenolate
N-telopeptide (Urine)
N-terminal proBNP
Neuron Specific Enolase
Noradrenaline (Urine)
Normetanephrine (Plasma)
Normetanephrine (Urine)
Nortriptyline
Oestradiol
Oestriol
Opiates (class) (Urine)
Osmolality
Osmolality (Fluid)
Osmolality (Urine)
Oxygen partial pressure (Blood)
Oxyhaemoglobin (Blood)
Paracetamol (mass)
Parathyroid Hormone (mass)
Parathyroid Hormone (molar)
pH (Blood)
pH (Fluid)
Phenobarbitone (mass)
Phenytoin (mass)
Phosphate
Phosphate (Urine)
Porphobilinogen (Urine)
Porphyrins (Blood)
Porphyrins (Faeces)
Porphyrins (Plasma)
Porphyrins (Urine)
Posaconazole
Potassium
Potassium (Blood)
Potassium (Fluid)
Potassium (Urine)
Prealbumin
Procalcitonin
Procollagen type 1 N-terminal propeptide
Progesterone
Prolactin
Prostate Specific Antigen
Prostate Specific Antigen (Free)
Protein
Protein (CSF)
Protein (Fluid)
Protein (Urine)
Prothrombin Time
Renin (conc)
Rheumatoid factor
Salicylate (mass)
Serotonin (Urine)
Sex Hormone Binding Globulin
Sirolimus (Blood)
Sodium
Sodium (Blood)
Sodium (Fluid)
Sodium (Sweat)
Sodium (Urine)
Soluble FMS Like Tyrosine Kinase 1
Tacrolimus (Blood)
Testosterone
Theophylline (mass)
Thrombin Time (Plasma)
Thyroglobulin
Thyroid Stimulating Hormone
Thyrotropin Receptor Antibodies
Thyroxine (free)
Thyroxine (total)
Tobramycin
Total Iron Binding Capacity
Transferrin
Triglycerides
Triglycerides (Fluid)
Triiodothyronine (free)
Triiodothyronine (total)
Troponin I (hs)
Troponin I (POCT)
Troponin T (hs)
Troponin T (POCT)
Urate (Fluid)
Urate (mmol/L)
Urate (umol/L)
Urate (Urine)
Urea
Urea (Fluid)
Urea (Urine)
Valproate (mass)
Vancomycin
Vitamin A (Serum)
Vitamin B1 (Plasma)
Vitamin B12
Vitamin B2
Vitamin B6 (Blood)
Vitamin B6 (Plasma)
Vitamin C
Vitamin D (25-hydroxy)
Voriconazole
Xanthochromia - Bilirubin
Xanthochromia - Haemoglobin
Zinc

## Layout
Attribute | Range Address | Description
import-aps | TRUE | Import APS values from spreadsheet
aps-abs | J4 | Absolute APS specification or cell address
aps-rel | J6 | Relative APS specification or cell address
x-range | O61:P160 | Results from the reference method
y-range | R61:S160 | Results from the comparison (new) method
output-range | C167 | Top left cell for writing the results of the regression analysis
regression-method | paba | Default regression method. May be paba, deming, wdeming only.
confidence-interval-method | default | Method for determining confidence interval. May be default or bootstrap only.
use-calculated-error-ratio | FALSE | Only relevant for Deming or Weighted Deming regression. May be TRUE or FALSE
error-ratio | 1 | Error ratio to be used by Deming or Weighted Deming regression
bland-altman-range | N162:U175 | Range of cells over which the difference plot is placed
scatter-plot-range | N177:U190 | Range of cells over which the scatter plot is placed
output-labels | TRUE | Whether to write the regression results with labels. May by TRUE or FALSE
chart-data-range | AP61 | Top left cell for writing data used to construct the chart. This should be some place out of the way.
p-days-range | B300:B324 | Range of cells containing the days attribute. Do not include the column header
p-runs-range | C300:C324 | Range of cells containing the runs attribute. Do not include the column header
p-results-range | D300:G324 | Range of cells containing the results of the precision study. Each level must be in a separate column
p-output-range | W299 | Top left cell for writing the results of the imprecision analysis.
concordance-output | C176 | Top left cell for writing the results of the concordance analysis
qx-range | E61:E160 | Qualitative results from the reference method
qy-range | H61:H160 | Qualitative results from the comparison (new) method
q-output-range | C176 | Top left cell for writing the results of the concordance analysis